{"text_format":"3","workbook":"xls","n_sheets":10,"sheets":["1.1 A.2 最高投标限价封面","1.2 B.2 最高投标限价扉页","2.1 D.2 单项工程最高投标限价汇总表","3.1 D.3 单位工程最高投标限价汇总表","3.2 E.1 分部分项工程量清单计价表","3.3 附录F 措施项目清单计价表","3.4 附录G 不可竞争项目清单与计价表","3.5 H.1 其他项目清单与计价汇总表","3.6 附录I 税金计价表","3.7 主要材料价格表"],"not_rendered":{"external_links":1,"defined_names":10},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 A.2 最高投标限价封面","index":0,"n_rows":17,"n_cols":9,"rows_kept":17,"merged":[[2,2,2,8],[4,1,5,7],[4,8,5,9],[8,0,8,10],[10,3,10,4],[10,5,10,6],[11,5,11,6],[13,3,13,4],[13,5,13,6],[14,5,14,6],[16,4,16,5]],"flags":["formulas_cached_only"]}
[]
[]
[null,null,"A.2 最高投标限价封面"]
[]
[null,"杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":6},"工程"]
[]
[]
[]
["最高投标限价"]
[]
[{"$nulls":3},"招  标  人："]
[{"$nulls":5},"（单位盖章）"]
[]
[{"$nulls":3},"造价咨询人："]
[{"$nulls":5},"（单位盖章）"]
[]
[{"$nulls":4},"2024年03月21日"]

{"sheet":"1.2 B.2 最高投标限价扉页","index":1,"n_rows":23,"n_cols":11,"rows_kept":23,"merged":[[2,4,2,10],[4,2,4,9],[4,10,4,11],[6,0,6,13],[8,1,8,4],[8,6,8,12],[10,1,10,4],[10,6,10,12],[12,1,12,2],[12,3,12,6],[12,9,12,12],[13,3,13,6],[13,9,13,12],[15,1,16,2],[15,3,16,6],[15,8,16,8],[16,9,16,12],[17,3,17,6],[17,9,17,12],[19,1,19,2],[19,3,19,6],[19,9,19,12],[20,3,20,6],[20,9,20,12],[22,1,22,2],[22,3,22,6],[22,9,22,12]],"flags":["formulas_cached_only"]}
[]
[]
[{"$nulls":4},"B.2 最高投标限价扉页"]
[]
[null,null,"杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":7},"工程"]
[]
["最高投标限价"]
[]
[null,"最高投标限价（小写）：",{"$nulls":4},"2973703.04"]
[]
[null,"            （大写）：",{"$nulls":4},"贰佰玖拾柒万叁仟柒佰零叁元零角肆分"]
[]
[null,"招  标  人：",{"$nulls":6},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",{"$nulls":5},"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":6},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",{"$nulls":5},"（签字或盖章）"]
[]
[null,"编  制  人：",{"$nulls":6},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",{"$nulls":5},"（造价工程师签字盖专用章）"]
[]
[null,"编 制 时 间：",null,"2024年03月21日",{"$nulls":4},"复 核 时 间：","2024年03月21日"]

{"sheet":"2.1 D.2 单项工程最高投标限价汇总表","index":2,"n_rows":45,"n_cols":8,"rows_kept":45,"merged":[[0,0,0,7],[1,0,1,2],[1,6,1,7],[2,0,3,0],[2,1,3,3],[2,4,3,4],[2,5,2,7],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[41,0,41,3],[41,5,41,6],[43,2,43,7],[44,0,44,7]],"flags":["formulas_cached_only"]}
["D.2 单项工程最高投标限价汇总表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":5},"第1页 共1页"]
["序号","单位工程名称",null,null,"金额(元)","其中：（元）"]
[{"$nulls":5},"暂估价",null,"不可竞争费"]
["1","杰森、高博、鼎旺、正天伟公司场平及排水工程",null,null,"2973703.04","",null,"351018.07"]
{"$rows_empty":36}
["合计",{"$nulls":3},"2973703.04","",null,"351018.07"]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["说明：本表适用于单项工程最高投标限价或投标报价的汇总。暂估价包括分部分项工程中的材料、设备暂估价和专业工程暂估价。"]

{"sheet":"3.1 D.3 单位工程最高投标限价汇总表","index":3,"n_rows":43,"n_cols":7,"rows_kept":43,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,5],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,0,40,3],[40,5,40,6],[42,2,42,6]],"flags":["formulas_cached_only"]}
["D.3 单位工程最高投标限价汇总表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",null,null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,null,"金额(元)","其中：材料、设备暂估价（元）"]
["1","分部分项工程费",null,null,"2293001.68",""]
["2","措施项目费",null,null,"84148.18",""]
["2.1","  夜间施工增加费",null,null,"7513.23",""]
["2.2","  二次搬运费",null,null,"18031.75",""]
["2.3","  冬雨季施工增加费",null,null,"12021.17",""]
["2.4","  已完工程及设备保护费",null,null,"1502.65",""]
["2.5","  工程定位复测费",null,null,"13523.81",""]
["2.6","  临时保护设施费",null,null,"1502.65",""]
["2.7","  行车、行人干扰增加费",null,null,"3005.29",""]
["2.8","  赶工措施费",null,null,"27047.63",""]
["3","不可竞争费",null,null,"351018.07",""]
["3.1","  安全文明施工费",null,null,"351018.07",""]
["3.2","  环境保护税",null,null,"",""]
["4","其他项目",null,null,"",""]
["4.1","  暂列金额",null,null,"",""]
["4.2","  专业工程暂估价",null,null,"",""]
["4.3","  计日工",null,null,"",""]
["4.4","  总承包服务费",null,null,"",""]
["5","税金",null,null,"245535.11",""]
{"$rows_empty":18}
["工程造价=1+2+3+4+5",{"$nulls":3},"2973703.04",""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.2 E.1 分部分项工程量清单计价表","index":4,"n_rows":109,"n_cols":14,"rows_kept":109,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,2,5,3],[5,5,5,6],[5,10,5,11],[6,2,6,3],[6,5,6,6],[6,10,6,11],[7,2,7,3],[7,5,7,6],[7,10,7,11],[8,0,9,0],[8,1,9,1],[8,2,9,3],[8,4,9,4],[8,5,9,6],[8,7,9,7],[8,8,9,8],[8,9,9,9],[8,10,9,11],[8,12,9,12],[8,13,9,13],[10,2,10,3],[10,5,10,6],[10,10,10,11],[11,0,12,0],[11,1,12,1],[11,2,12,3],[11,4,12,4],[11,5,12,6],[11,7,12,7],[11,8,12,8],[11,9,12,9],[11,10,12,11],[11,12,12,12],[11,13,12,13],[13,0,15,0],[13,1,15,1],[13,2,15,3],[13,4,15,4],[13,5,15,6],[13,7,15,7],[13,8,15,8],[13,9,15,9],[13,10,15,11],[13,12,15,12],[13,13,15,13],[16,2,16,3],[16,5,16,6],[16,10,16,11],[17,2,17,3],[17,5,17,6],[17,10,17,11],[18,2,18,3],[18,5,18,6],[18,10,18,11],[19,2,19,3],[19,5,19,6],[19,10,19,11],[20,0,20,13],[21,3,21,13],[22,0,22,13],[23,0,23,5],[23,6,23,10],[23,11,23,13],[24,0,26,0],[24,1,26,1],[24,2,26,3],[24,4,26,4],[24,5,26,6],[24,7,26,7],[24,8,24,13],[25,8,26,8],[25,9,26,9],[25,10,25,13],[26,10,26,11],[27,2,27,3],[27,5,27,6],[27,10,27,11],[28,0,29,0],[28,1,29,1],[28,2,29,3],[28,4,29,4],[28,5,29,6],[28,7,29,7],[28,8,29,8],[28,9,29,9],[28,10,29,11],[28,12,29,12],[28,13,29,13],[30,0,31,0],[30,1,31,1],[30,2,31,3],[30,4,31,4],[30,5,31,6],[30,7,31,7],[30,8,31,8],[30,9,31,9],[30,10,31,11],[30,12,31,12],[30,13,31,13],[32,2,32,3],[32,5,32,6],[32,10,32,11],[33,2,33,3],[33,5,33,6],[33,10,33,11],[34,2,34,3],[34,5,34,6],[34,10,34,11],[35,2,35,3],[35,5,35,6],[35,10,35,11],[36,2,36,3],[36,5,36,6],[36,10,36,11],[37,2,37,3],[37,5,37,6],[37,10,37,11],[38,2,38,3],[38,5,38,6],[38,10,38,11],[39,2,39,3],[39,5,39,6],[39,10,39,11],[40,2,40,3],[40,5,40,6],[40,10,40,11],[41,2,41,3],[41,5,41,6],[41,10,41,11],[42,2,42,3],[42,5,42,6],[42,10,42,11],[43,2,43,3],[43,5,43,6],[43,10,43,11],[44,2,44,3],[44,5,44,6],[44,10,44,11],[45,2,45,3],[45,5,45,6],[45,10,45,11],[46,2,46,3],[46,5,46,6],[46,10,46,11],[47,0,47,13],[48,3,48,13],[49,0,49,13],[50,0,50,5],[50,6,50,10],[50,11,50,13],[51,0,53,0],[51,1,53,1],[51,2,53,3],[51,4,53,4],[51,5,53,6],[51,7,53,7],[51,8,51,13],[52,8,53,8],[52,9,53,9],[52,10,52,13],[53,10,53,11],[54,0,57,0],[54,1,57,1],[54,2,57,3],[54,4,57,4],[54,5,57,6],[54,7,57,7],[54,8,57,8],[54,9,57,9],[54,10,57,11],[54,12,57,12],[54,13,57,13],[58,2,58,3],[58,5,58,6],[58,10,58,11],[59,2,59,3],[59,5,59,6],[59,10,59,11],[60,0,61,0],[60,1,61,1],[60,2,61,3],[60,4,61,4],[60,5,61,6],[60,7,61,7],[60,8,61,8],[60,9,61,9],[60,10,61,11],[60,12,61,12],[60,13,61,13],[62,0,63,0],[62,1,63,1],[62,2,63,3],[62,4,63,4],[62,5,63,6],[62,7,63,7],[62,8,63,8],[62,9,63,9],[62,10,63,11],[62,12,63,12],[62,13,63,13],[64,2,64,3],[64,5,64,6],[64,10,64,11],[65,2,65,3],[65,5,65,6],[65,10,65,11],[66,2,66,3],[66,5,66,6],[66,10,66,11],[67,2,67,3],[67,5,67,6],[67,10,67,11],[68,0,68,13],[70,3,70,13],[71,0,71,13],[72,0,72,5],[72,6,72,10],[72,11,72,13],[73,0,75,0],[73,1,75,1],[73,2,75,3],[73,4,75,4],[73,5,75,6],[73,7,75,7],[73,8,73,13],[74,8,75,8],[74,9,75,9],[74,10,74,13],[75,10,75,11],[76,0,78,0],[76,1,78,1],[76,2,78,3],[76,4,78,4],[76,5,78,6],[76,7,78,7],[76,8,78,8],[76,9,78,9],[76,10,78,11],[76,12,78,12],[76,13,78,13],[79,2,79,3],[79,5,79,6],[79,10,79,11],[80,0,81,0],[80,1,81,1],[80,2,81,3],[80,4,81,4],[80,5,81,6],[80,7,81,7],[80,8,81,8],[80,9,81,9],[80,10,81,11],[80,12,81,12],[80,13,81,13],[82,0,83,0],[82,1,83,1],[82,2,83,3],[82,4,83,4],[82,5,83,6],[82,7,83,7],[82,8,83,8],[82,9,83,9],[82,10,83,11],[82,12,83,12],[82,13,83,13],[84,2,84,3],[84,5,84,6],[84,10,84,11],[85,2,85,3],[85,5,85,6],[85,10,85,11],[86,2,86,3],[86,5,86,6],[86,10,86,11],[87,0,87,13],[88,3,88,13],[89,0,89,13],[90,0,90,5],[90,6,90,10],[90,11,90,13],[91,0,93,0],[91,1,93,1],[91,2,93,3],[91,4,93,4],[91,5,93,6],[91,7,93,7],[91,8,91,13],[92,8,93,8],[92,9,93,9],[92,10,92,13],[93,10,93,11],[94,0,95,0],[94,1,95,1],[94,2,95,3],[94,4,95,4],[94,5,95,6],[94,7,95,7],[94,8,95,8],[94,9,95,9],[94,10,95,11],[94,12,95,12],[94,13,95,13],[96,0,97,0],[96,1,97,1],[96,2,97,3],[96,4,97,4],[96,5,97,6],[96,7,97,7],[96,8,97,8],[96,9,97,9],[96,10,97,11],[96,12,97,12],[96,13,97,13],[98,2,98,3],[98,5,98,6],[98,10,98,11],[99,2,99,3],[99,5,99,6],[99,10,99,11],[100,2,100,3],[100,5,100,6],[100,10,100,11],[101,2,101,3],[101,5,101,6],[101,10,101,11],[102,2,102,3],[102,5,102,6],[102,10,102,11],[103,0,106,0],[103,1,106,1],[103,2,106,3],[103,4,106,4],[103,5,106,6],[103,7,106,7],[103,8,106,8],[103,9,106,9],[103,10,106,11],[103,12,106,12],[103,13,106,13],[107,0,107,13],[108,3,108,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["1","WB050101013001","砍挖灌木林",null,"1、竹林砍伐、清除","m2",null,"1500.000","2.27","3405.00","2625.00",null,"60.00",""]
["2","050101001001","砍伐乔木",null,"1、树干直径（离地面20mm处）：30cm","株",null,"50.000","36.13","1806.50","1400.00",null,"20.50",""]
["3","010101001001","机械清表",null,"1、机械清表\n2、地表植被、垃圾清除","m2",null,"33809.500","0.81","27385.70","2704.76",null,"17919.04",""]
["4","040101001001","挖一般土方",null,"1、土壤类别：综合各类土石方\n2、本工程正负零以上所有土石方、建筑垃圾、生活垃圾等\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","m3",null,"53464.900","2.89","154513.56","12831.58",null,"105860.50",""]
[]
["5","040101005002","挖淤泥、流砂",null,"1、挖掘深度：暂按2米深度计量，结算工程量以现场实际发生量为准\n2、含装车","m3",null,"2080.000","10.19","21195.20","3369.60",null,"12916.80",""]
["6","040103001001","回填方",null,"1、密实度要求：满足规范要求\n2、填方材料品种：平衡场地土回填\n3、填方粒径要求：满足规范要求","m3",null,"30394.100","2.51","76289.19","7294.58",null,"50758.15",""]
[]
["7","040103002001","余方弃置",null,"1、废弃料品种：多余土方及施工垃圾清运\n2、运距：可利用土方运至鼎旺、正天伟地块，其余垃圾运距自行考虑\n3、报价含装车、运输、弃土场地用费、渣土费、道路保洁等，投标单位综合报价、中标后不予调整","m3",null,"36246.300","13.05","473014.22","10148.96",null,"351589.11",""]
{"$rows_empty":7}
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["8","041001001001","拆除道路",null,"1、20cm混凝土路面\n2、20cm碎石基层\n3、拆除废渣作为临时便道基层","m2",null,"1080.000","15.26","16480.80","4384.80",null,"9406.80",""]
["9","041104001001","临时便道",null,"1、结构类型：碎石级配路面\n2、材料种类：64:21:15(碎石:砂:黏土)\n3、便道 厚度20cm","m2",null,"640.000","51.55","32992.00","2438.40",null,"844.80",""]
[]
["10","WB041107003001","施工排水",null,"1、排水方式：抽水机等\n2、设备型号：施工单位自行考虑\n3、各投标单位自行查看现场，自行考虑满足本项目所需要的所有排水费，中标后不予调整","项",null,"1.000","1435.20","1435.20","873.60",null,"291.20",""]
[]
["11","010101003003","挖沟槽土方",null,"1、挖排水沟满足使用要求\n2、本项为暂定工程量，结算工程量以现场实际发生量为准","m",null,"300.000","17.93","5379.00","3852.00",null,"369.00",""]
["12","030410001003","移动光缆线路迁移",null,"1、现场10根杆线及光缆迁移\n2、9m水泥杆\n3、迁移距离：施工单位自行勘察","项",null,"1.000","15000.00","15000.00","",null,"",""]
{"$rows_empty":14}
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["13","041106001001","大型机械设备进出场及安拆",null,"1、机械设备名称：包括各种大型机械设备,投标单位自行考虑报价，中标后不再调整。\n2、机械设备规格型号：包括各种大型机械设备,投标单位自行考虑报价，中标后不再调整。\n3、机械型号和数量满足施工和进度需要，均考虑计入报价中\n4、其他未尽事宜:图纸、图集、答疑、招标文件、政府相关文件、规范等其它资料,满足验收要求，均包含在报价中","项",null,"1.000","10316.64","10316.64","2520.00",null,"5630.13",""]
[]
[]
[]
["14","WB050101013002","砍挖灌木林",null,"1、竹林砍伐、清除","m2",null,"400.000","2.27","908.00","700.00",null,"16.00",""]
["15","010101001002","机械清表",null,"1、机械清表\n2、地表植被、垃圾清除","m2",null,"34405.400","0.81","27868.37","2752.43",null,"18234.86",""]
["16","040101001002","挖一般土方",null,"1、土壤类别：综合各类土石方\n2、本工程正负零以上所有土石方、建筑垃圾、生活垃圾等\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","m3",null,"55795.650","2.89","161249.43","13390.96",null,"110475.39",""]
[]
["17","040103001002","回填方",null,"1、密实度要求：满足规范要求\n2、填方材料品种：平衡场地土回填\n3、填方粒径要求：满足规范要求","m3",null,"83375.990","2.51","209273.73","20010.24",null,"139237.90",""]
{"$rows_empty":7}
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":5},"标段：",{"$nulls":4},"第4页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["18","040103001003","外购土方",null,"1、外购土方\n2、土壤类别：品质合格土方\n3、运距：投标人在投标报价时应自行综合考虑，土源质量须征求建设单位同意，同时需充分考虑为满足市容及渣土管理部门要求而发生的增加费用\n4、土源5元/m3属暂估价，结算时按实结合下浮予以调整","m3",null,"4077.540","18.05","73599.60","1141.71",null,"39552.14",""]
[]
[]
["19","040101005001","挖淤泥、流砂",null,"1、挖掘深度：暂按2.5米深度计量，结算工程量以现场实际发生量为准、\n2、含装车","m3",null,"21700.000","10.19","221123.00","35154.00",null,"134757.00",""]
["20","040103002003","余方弃置",null,"1、废弃料品种：淤泥及施工垃圾清运\n2、运距：施工单位自行考虑\n3、报价含装车、运输、弃土场地用费、渣土费、道路保洁等，投标单位综合报价、中标后不予调整","m3",null,"32141.620","13.05","419448.14","8999.65",null,"311773.71",""]
[]
["21","WB041107003002","施工排水",null,"1、排水方式：抽水机等\n2、设备型号：施工单位自行考虑\n3、各投标单位自行查看现场，自行考虑满足本项目所需要的所有排水费，中标后不予调整","项",null,"1.000","14973.00","14973.00","9114.00",null,"3038.00",""]
[]
["22","030410001004","移动光缆线路迁移",null,"1、现场3根杆线及光缆迁移\n2、9m水泥杆\n3、迁移距离：施工单位自行勘察","项",null,"1.000","65000.00","65000.00","",null,"",""]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":5},"标段：",{"$nulls":4},"第5页 共5页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["23","041104001002","临时便道",null,"1、结构类型：碎石级配路面\n2、材料种类：64:21:15(碎石:砂:黏土)\n3、便道 厚度20cm","m2",null,"100.000","51.55","5155.00","381.00",null,"132.00",""]
[]
["24","040501001001","混凝土管道铺设(人机配合下管)",null,"1、管道类型、管道材质：钢筋混凝土\n2、连接方式：承插连接\n3、管径：D1000\n4、100mm厚碎石垫层\n5、100mm厚混凝土基础","m",null,"110.000","757.02","83272.20","6347.00",null,"2806.10",""]
[]
["25","040504001001","砌筑检查井",null,"1、尺寸：直径1500圆井\n2、井深2米\n3、预制井盖","座",null,"3.000","4842.91","14528.73","3536.82",null,"100.98",""]
["26","010504004001","挡土墙",null,"1、块石挡土墙\n2、勾缝","m3",null,"209.000","404.00","84436.00","28908.88",null,"2744.17",""]
["27","010501001001","混凝土基础",null,"1、混凝土强度等级：C25","m3",null,"92.960","565.31","52551.22","5040.29",null,"78.09",""]
["28","010507005001","压顶",null,"1、混凝土强度等级：C20","m3",null,"6.720","740.21","4974.21","1075.87",null,"",""]
["29","011503001001","金属扶手、栏杆、栏板",null,"1、栏杆材料种类、规格、品牌：不锈钢栏杆","m",null,"28.000","182.55","5111.40","921.20",null,"266.28",""]
["30","041106001002","大型机械设备进出场及安拆",null,"1、机械设备名称：包括各种大型机械设备,投标单位自行考虑报价，中标后不再调整。\n2、机械设备规格型号：包括各种大型机械设备,投标单位自行考虑报价，中标后不再调整。\n3、机械型号和数量满足施工和进度需要，均考虑计入报价中\n4、其他未尽事宜:图纸、图集、答疑、招标文件、政府相关文件、规范等其它资料,满足验收要求，均包含在报价中","项",null,"1.000","10316.64","10316.64","2520.00",null,"5630.13",""]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.3 附录F 措施项目清单计价表","index":5,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","SC-01",null,"夜间施工增加费",null,"1502645.85","0.500",null,"7513.23"]
["2","SC-02",null,"二次搬运费",null,"1502645.85","1.200",null,"18031.75"]
["3","SC-03",null,"冬雨季施工增加费",null,"1502645.85","0.800",null,"12021.17"]
["4","SC-04",null,"已完工程及设备保护费",null,"1502645.85","0.100",null,"1502.65"]
["5","SC-05",null,"工程定位复测费",null,"1502645.85","0.900",null,"13523.81"]
["6","SC-06",null,"临时保护设施费",null,"1502645.85","0.100",null,"1502.65"]
["7","SC-07",null,"行车、行人干扰增加费",null,"1502645.85","0.200",null,"3005.29"]
["8","SC-08",null,"赶工措施费",null,"1502645.85","1.800",null,"27047.63"]
{"$rows_empty":29}
["合   计",{"$nulls":7},"84148.18"]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.4 附录G 不可竞争项目清单与计价表","index":6,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","SF-01",null,"环境保护费",null,"1502645.85","2.760",null,"41473.03"]
["2","SF-02",null,"文明施工费",null,"1502645.85","7.330",null,"110143.94"]
["3","SF-03",null,"安全施工费",null,"1502645.85","5.280",null,"79339.70"]
["4","SF-04",null,"临时设施费",null,"1502645.85","7.990",null,"120061.40"]
["5","SF-05",null,"环境保护税",null,"0","",null,""]
{"$rows_empty":32}
["合   计",{"$nulls":7},"351018.07"]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.5 H.1 其他项目清单与计价汇总表","index":7,"n_rows":43,"n_cols":6,"rows_kept":43,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,0,40,3],[40,4,40,5],[42,2,42,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,""]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":33}
["合  计",{"$nulls":3},""]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.6 附录I 税金计价表","index":8,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",null,"2728167.93",null,"9.000","245535.11"]
{"$rows_empty":37}
["合  计",{"$nulls":7},"245535.11"]
[]
[null,null,"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]

{"sheet":"3.7 主要材料价格表","index":9,"n_rows":86,"n_cols":12,"rows_kept":86,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,2,2,3],[2,4,2,5],[2,8,2,9],[3,2,3,3],[3,4,3,5],[3,8,3,9],[4,2,4,3],[4,4,4,5],[4,8,4,9],[5,2,5,3],[5,4,5,5],[5,8,5,9],[6,2,6,3],[6,4,6,5],[6,8,6,9],[7,2,7,3],[7,4,7,5],[7,8,7,9],[8,2,8,3],[8,4,8,5],[8,8,8,9],[9,2,9,3],[9,4,9,5],[9,8,9,9],[10,2,10,3],[10,4,10,5],[10,8,10,9],[11,2,11,3],[11,4,11,5],[11,8,11,9],[12,2,12,3],[12,4,12,5],[12,8,12,9],[13,2,13,3],[13,4,13,5],[13,8,13,9],[14,2,14,3],[14,4,14,5],[14,8,14,9],[15,2,15,3],[15,4,15,5],[15,8,15,9],[16,2,16,3],[16,4,16,5],[16,8,16,9],[17,2,17,3],[17,4,17,5],[17,8,17,9],[18,2,18,3],[18,4,18,5],[18,8,18,9],[19,2,19,3],[19,4,19,5],[19,8,19,9],[20,2,20,3],[20,4,20,5],[20,8,20,9],[21,2,21,3],[21,4,21,5],[21,8,21,9],[22,2,22,3],[22,4,22,5],[22,8,22,9],[23,2,23,3],[23,4,23,5],[23,8,23,9],[24,2,24,3],[24,4,24,5],[24,8,24,9],[25,2,25,3],[25,4,25,5],[25,8,25,9],[26,2,26,3],[26,4,26,5],[26,8,26,9],[27,2,27,3],[27,4,27,5],[27,8,27,9],[28,2,28,3],[28,4,28,5],[28,8,28,9],[29,2,29,3],[29,4,29,5],[29,8,29,9],[30,2,30,3],[30,4,30,5],[30,8,30,9],[31,2,31,3],[31,4,31,5],[31,8,31,9],[32,2,32,3],[32,4,32,5],[32,8,32,9],[33,2,33,3],[33,4,33,5],[33,8,33,9],[34,2,34,3],[34,4,34,5],[34,8,34,9],[35,2,35,3],[35,4,35,5],[35,8,35,9],[36,2,36,3],[36,4,36,5],[36,8,36,9],[37,2,37,3],[37,4,37,5],[37,8,37,9],[38,2,38,3],[38,4,38,5],[38,8,38,9],[39,2,39,3],[39,4,39,5],[39,8,39,9],[40,0,40,11],[42,3,42,11],[43,0,43,11],[44,0,44,4],[44,5,44,8],[44,9,44,11],[45,2,45,3],[45,4,45,5],[45,8,45,9],[46,2,46,3],[46,4,46,5],[46,8,46,9],[47,2,47,3],[47,4,47,5],[47,8,47,9],[48,2,48,3],[48,4,48,5],[48,8,48,9],[49,2,49,3],[49,4,49,5],[49,8,49,9],[50,2,50,3],[50,4,50,5],[50,8,50,9],[51,2,51,3],[51,4,51,5],[51,8,51,9],[52,2,52,3],[52,4,52,5],[52,8,52,9],[53,2,53,3],[53,4,53,5],[53,8,53,9],[54,2,54,3],[54,4,54,5],[54,8,54,9],[55,2,55,3],[55,4,55,5],[55,8,55,9],[56,2,56,3],[56,4,56,5],[56,8,56,9],[57,2,57,3],[57,4,57,5],[57,8,57,9],[58,2,58,3],[58,4,58,5],[58,8,58,9],[59,2,59,3],[59,4,59,5],[59,8,59,9],[60,2,60,3],[60,4,60,5],[60,8,60,9],[61,2,61,3],[61,4,61,5],[61,8,61,9],[62,2,62,3],[62,4,62,5],[62,8,62,9],[63,2,63,3],[63,4,63,5],[63,8,63,9],[64,2,64,3],[64,4,64,5],[64,8,64,9],[65,2,65,3],[65,4,65,5],[65,8,65,9],[66,2,66,3],[66,4,66,5],[66,8,66,9],[67,2,67,3],[67,4,67,5],[67,8,67,9],[68,2,68,3],[68,4,68,5],[68,8,68,9],[69,2,69,3],[69,4,69,5],[69,8,69,9],[70,2,70,3],[70,4,70,5],[70,8,70,9],[71,2,71,3],[71,4,71,5],[71,8,71,9],[72,2,72,3],[72,4,72,5],[72,8,72,9],[73,2,73,3],[73,4,73,5],[73,8,73,9],[74,2,74,3],[74,4,74,5],[74,8,74,9],[75,2,75,3],[75,4,75,5],[75,8,75,9],[76,2,76,3],[76,4,76,5],[76,8,76,9],[77,2,77,3],[77,4,77,5],[77,8,77,9],[78,2,78,3],[78,4,78,5],[78,8,78,9],[79,2,79,3],[79,4,79,5],[79,8,79,9],[80,2,80,3],[80,4,80,5],[80,8,80,9],[81,2,81,3],[81,4,81,5],[81,8,81,9],[83,2,83,3],[83,4,83,5],[83,8,83,9],[85,3,85,11]],"flags":["formulas_cached_only"]}
["主要材料价格表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":4},"标段：",{"$nulls":3},"第1页 共2页"]
["序号","材料编码","材料名称",null,"规格、型号等特殊要求",null,"单位","数量","单价(元)",null,"合价(元)","备注"]
["1","0103A03B55CB","镀锌铁丝 16号",{"$nulls":3},"kg","21.393","3.57",null,"76.37"]
["2","0103A03B61CB","镀锌铁丝 12号",{"$nulls":3},"kg","0.933","3.57",null,"3.33"]
["3","0201A09B01BW","橡胶板",{"$nulls":3},"m2","1.560","6.50",null,"10.14"]
["4","0209A19B01BW","塑料养护膜",{"$nulls":3},"m2","140.317","0.30",null,"42.10"]
["5","0233A01B01BW","草袋",{"$nulls":3},"m2","25.520","2.20",null,"56.14"]
["6","0313A05B01CB","不锈钢焊条",{"$nulls":3},"kg","4.452","38.46",null,"171.22"]
["7","0315A01B25C01CB","铁钉",{"$nulls":3},"kg","9.250","3.56",null,"32.93"]
["8","0315A01B29C01CB","圆钉",{"$nulls":3},"kg","0.202","5.13",null,"1.03"]
["9","0315A05B39C01BW","养生布",{"$nulls":3},"m2","17.349","2.00",null,"34.70"]
["10","0315A21B35C01CB","零星卡具",{"$nulls":3},"kg","5.113","5.56",null,"28.43"]
["11","0401A01B51CB","水泥 32.5级",{"$nulls":3},"kg","23765.269","0.41",null,"9743.76"]
["12","0403A17B01BT","中（粗）砂",{"$nulls":3},"t","158.430","131.07",null,"20765.46"]
["13","0405A33B01BT","碎石",{"$nulls":3},"t","2.381","106.80",null,"254.24"]
["14","0405A33B13BT","碎石 25～40",{"$nulls":3},"t","214.415","106.80",null,"22899.52"]
["15","0405A33B61BT","碎石 40",{"$nulls":3},"t","22.496","106.80",null,"2402.58"]
["16","0407A17B01BT","石屑（米砂）",{"$nulls":3},"t","33.574","160.00",null,"5371.81"]
["17","0409A43B01BV","黏土",{"$nulls":3},"m3","18.174","11.50",null,"209.01"]
["18","0411A11B01BV","块石",{"$nulls":3},"m3","219.450","92.00",null,"20189.40"]
["19","0413A15B53AQ","机砖 240×115×53",{"$nulls":3},"千块","7.527","464.63",null,"3497.27"]
["20","0429A25B59BV","预制钢筋混凝土盖板 C25",{"$nulls":3},"m3","0.852","683.76",null,"582.56"]
["21","0503A01B01BV","板方材",{"$nulls":3},"m3","0.168","1800.00",null,"302.00"]
["22","0503A35B01BV","枕木",{"$nulls":3},"m3","0.320","1230.77",null,"393.85"]
["23","1301A33B51CB","煤焦油沥青漆 L01-17",{"$nulls":3},"kg","4.797","6.84",null,"32.81"]
["24","1439A17B01BV","氩气",{"$nulls":3},"m3","11.480","19.59",null,"224.89"]
["25","1705A05B51CB","不锈钢管 202系列",{"$nulls":3},"kg","252.000","11.50",null,"2898.00"]
["26","1729A01B63BY","钢筋混凝土承插管 DN1000",{"$nulls":3},"m","111.100","575.25",null,"63910.28"]
["27","1805A07B51BF","不锈钢弯头 φ60",{"$nulls":3},"个","8.484","24.00",null,"203.62"]
["28","2021A01B01BF","不锈钢法兰盖",{"$nulls":3},"个","33.600","4.00",null,"134.40"]
["29","3301A26B01CB","钢支撑",{"$nulls":3},"kg","20.242","3.50",null,"70.85"]
["30","3301A48B01CB","铸铁爬梯",{"$nulls":3},"kg","89.688","3.50",null,"313.91"]
["31","3411A01B01CA","电",{"$nulls":3},"kW·h","48.577","0.68",null,"33.03"]
["32","3411A13B01BV","水",{"$nulls":3},"m3","139.004","7.96",null,"1106.47"]
["33","3501A05B01BW","复合木模板",{"$nulls":3},"m2","21.883","29.06",null,"635.91"]
["34","3601A09B01AK","铸铁井盖井座",{"$nulls":3},"套","3.000","825.04",null,"2475.12"]
["35","3603A13B01BW","养护土工布",{"$nulls":3},"m2","6.391","2.43",null,"15.53"]
["36","8021A01B51BV","商品混凝土 C15（泵送）",{"$nulls":3},"m3","18.019","466.02",null,"8397.40"]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]
["主要材料价格表"]
["工程名称：杰森、高博、鼎旺、正天伟公司场平及排水工程",{"$nulls":4},"标段：",{"$nulls":3},"第2页 共2页"]
["序号","材料编码","材料名称",null,"规格、型号等特殊要求",null,"单位","数量","单价(元)",null,"合价(元)","备注"]
["37","8021A01B55BV","商品混凝土 C20（泵送）",{"$nulls":3},"m3","94.354","475.73",null,"44887.22"]
["38","CL-D00001","回填方土源",{"$nulls":3},"m3","4077.540","5.00",null,"20387.70"]
["39","CL-D00003","移动光缆线路迁移",{"$nulls":3},"项","1.000","65000.00",null,"65000.00"]
["40","CL-D00004","移动光缆线路迁移",{"$nulls":3},"项","1.000","15000.00",null,"15000.00"]
["41","Z0409A21B01BV","黄土",{"$nulls":3},"m3","18.248","5.00",null,"91.24"]
{"$rows_empty":32}
[null,null,"合 计",{"$nulls":7},"312886.23"]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点造价软件V10.0安徽版】"]